# I2: Risks to electricity generation

## Summary vulnerability assessment

This report forms part of the West Yorkshire Combined Authority Climate Risk and Vulnerability Assessment and examines risks to electricity generation from flooding, heat, drought, storms and changes in wind and solar resource. Exposure is moderate: generating and storage assets are present across West Yorkshire, and flooding is a credible local hazard, but the available evidence does not show what proportion of sites faces climate hazards. Sensitivity is moderate because weather can damage assets or reduce output, although the loss of an individual small generator is unlikely to have major regional consequences within the wider Great Britain electricity system. National energy-system planning, sector adaptation activity, network resilience measures and local flood-risk management provide significant adaptive capacity. However, evidence of preparedness at individual West Yorkshire generating sites remains limited.

The resulting overall vulnerability rating is low. The figure below summarises the assessment scores for exposure, sensitivity, adaptive capacity and overall vulnerability.

1

Moderate

1

Moderate

2

Significant

0

Low

Exposure

Sensitivity

Adaptive Capacity

Overall Vulnerability

## Risk summary

Climate change can affect electricity generation through flooding, heat, drought, storms and changes in wind and solar resource. These hazards can damage generating assets, restrict access, reduce output or efficiency, and create longer periods when weather-dependent generation is low. The national assessment concludes that more action is needed. Although Great Britain’s electricity system is designed to manage weather variability, the future system will be more dependent on wind and solar power, while demand will increase as heating and transport are electrified. Quantified evidence about risks to individual generating assets within West Yorkshire remains limited.

## Exposure: How exposed is the West Yorkshire region to this risk?

Moderate

Exposure

Electricity generation in West Yorkshire includes distributed solar, onshore wind, battery storage, energy from waste, combined heat and power and fossil-fuel generation. Local Area Energy Plans are also identifying further opportunities for wind, ground-mounted solar and storage. This means that generating assets are present across the region and their exposure will change as decentralised renewable generation expands.

Battery storage is increasingly important to the regional energy system, but evidence on the exposure and climate resilience of existing and proposed storage sites in West Yorkshire is limited. National evidence also identifies a wider need to understand the operation and resilience of power systems with much higher levels of storage.

The Regional Demand and Generation Tracker provides data on the number of electricity generation, storage and flexible demand assets that have access to the network. Data for this embedded capacity over 1MW connected to the northern power grid across the five local authorities is summarised in Table 1.

Table 1: Number of electricity generation, storage and flexible demand assets 1MW and over that is connected to the northern power grid in West Yorkshire Combined Authority. Source: Northern Powergrid Regional Demand and Generation Tracker

| Row Labels | Bradford | Calderdale | Kirklees | Leeds | Wakefield | Grand Total |
| --- | --- | --- | --- | --- | --- | --- |
| Fossil - Gas | 10 | 3 | 3 | 10 | 4 | 30 |
| Fossil - Oil | 1 |  | 1 | 2 | 3 | 7 |
| Biomass |  |  |  |  | 1 | 1 |
| Solar | 3 | 2 | 5 | 14 | 17 | 41 |
| Stored Energy | 8 | 6 | 2 | 11 | 8 | 35 |
| Waste | 1 |  | 1 | 5 | 8 | 15 |
| Wind |  | 3 |  | 3 |  | 6 |
| Other | 1 | 1 |  | 6 |  | 8 |
| Grand Total | 24 | 15 | 12 | 51 | 41 | 143 |

Flooding is likely to be an important local hazard. National modelling cited by CCRA4 identified 242 UK power stations, including 229 in England, at significant risk from river, surface-water or coastal flooding in the 2020s under a 2°C warming scenario and current levels of adaptation3. Calderdale has steep, rapidly responding catchments and a long history of river and surface-water flooding. Leeds has exposed river corridors, urban surface-water hotspots and ageing drainage networks. Wakefield and Kirklees also identify extensive river, watercourse and surface-water risks. Electricity generating stations are treated as essential infrastructure in local planning guidance, such as that issued by Calderdale, because they may need to remain operational during flooding.6

Overall, exposure is assessed as moderate. Generating and storage assets are present across West Yorkshire, and flooding is a credible local hazard, but the available evidence does not establish what proportion of sites is exposed to climate hazards.

## Sensitivity: How significant could this risk be for the West Yorkshire region?

Moderate

Sensitivity

Loss or reduced output from an individual small generator may have limited regional consequences because West Yorkshire is part of the wider Great Britain electricity system. However, simultaneous weather effects across multiple assets can reduce generation while increasing demand3. Electricity failure can also disrupt communications, water pumping, transport, health services and businesses. The regional Community Risk Register notes that power cuts can affect anyone and identifies severe weather and flooding as causes of utility and infrastructure disruption.

National evidence identifies several pathways that are relevant locally. High temperatures can reduce the efficiency of thermal and solar generation and increase the risk of component wear and outages. Drought can restrict cooling water and hydropower output. Flooding can damage sites, block access and affect water intakes. High winds and storms can damage assets or shut down turbines, while extended low-wind periods can reduce output. These risks matter more as electricity demand rises and wind and solar provide a larger share of generation.3

Calderdale’s Local Area Energy Plan illustrates the direction of change. It projects that local electricity demand could roughly double as heat and transport are electrified and proposes substantial expansion of rooftop solar and other renewable generation. This would increase dependence on electricity and expand the number of weather-exposed assets, although more distributed generation could reduce dependence on any one site.  However, an increase in dispersed generation capacity may also create challenges for system visibility, control and coordination, particularly where small generators and storage assets are not covered by detailed climate-resilience reporting3.

Drought-related sensitivity is credible but is not quantified locally. GB-wide research shows that drought and climate change can create cooling-water constraints for thermal generation. The Environment Agency maintains national arrangements for planning, managing and responding to drought. No evidence was found to indicate that West Yorkshire generating stations are currently subject to a quantified cooling-water constraint.

## Adaptive Capacity: Existing programmes, plans, policies, budgets and community action

Significant

Adaptive Capacity

Nationally, the National Energy System Operator carries out resource-adequacy assessments to test whether sufficient resources will be available to meet demand. The Climate Change Risk Assessment states that this security-of-supply process is well established. It also notes that sector adaptation reports remain largely qualitative and do not provide detailed, measurable plans for every generator or site.3

The generation sector reports good engagement with climate-risk governance and identifies heat, cold, wind, lightning and flooding as material risks. However, the sector report is voluntary, Great Britain-wide and aggregated it does not demonstrate the preparedness of individual West Yorkshire generators.

Ofgem’s fourth-round climate-resilience report concludes that more work is needed to ensure that the future energy system is resilient to climate change. Its priorities include establishing clearer climate-resilience goals and strengthening the treatment of climate risk in regulatory decisions. This reinforces the evidence gap around measurable adaptation outcomes for individual generators.

Northern Powergrid has a developed adaptation framework for the electricity distribution network, including flood protection, storm response, incident recovery and network automation.  These measures support the network connection and export capability of local generators, but they do not establish the climate resilience of the generating assets themselves.

Stakeholders in the sector report that climate risk is considered in the design of newer generating assets. However, available reporting is largely qualitative and does not provide consistent plant-level evidence or measurable indicators showing how effective these design measures will be under future climate conditions.

Local capacity includes flood-risk strategies, planning controls, Sustainable Drainage Systems, natural flood management, flood alleviation schemes and emergency planning across the five districts. The West Yorkshire Combined Authority also coordinates regional strategy and has published drainage guidance. These measures can reduce risks to new energy developments and surrounding infrastructure. Existing assets may still have residual exposure, and several local strategies are older or focus on flood management rather than electricity generation.6,7,8

The West Yorkshire Local Area Energy Plans should improve strategic coordination between renewable deployment, network reinforcement and investment. The regional programme is identifying opportunities and possible constraints, but the March 2026 committee report says that funding for the identified opportunities had not yet been secured and highlights network capacity, governance, skills and planning constraints.4

In summary, national energy-system planning, regulatory activity, sector adaptation reporting, Northern Powergrid’s adaptation framework, local flood-risk management and Local Area Energy Planning all specifically contribute to managing this risk. These arrangements provide established capacity for system planning, resilient connections, emergency response and the design of new infrastructure. However, important gaps remain. Available reporting does not demonstrate the preparedness of individual West Yorkshire generators, and evidence is lacking on site-level risk assessments, design standards, backup arrangements and funded adaptation measures.

# Annex: Scoring Matrix

The scoring methodology uses the following formula to calculate overall vulnerability for each risk/opportunity area.

Exposure

Sensitivity

Adaptive Capacity

Overall Vulnerability

Exposure, sensitivity and adaptive capacity are scored on a scale of 0-3 (see below).

## Exposure

The presence of people, livelihoods, species or ecosystems, environmental functions, services, and resources, infrastructure, or economic, social, or cultural assets in places and settings that could be adversely affected.

| Score | Rating | Description | Area or System exposed |
| --- | --- | --- | --- |
| 3 | High | 50-100% of affected area/system expose to climate hazards | 50-100% |
| 2 | Significant | 25-50% of affected area/system expose to climate hazards | 25-50% |
| 1 | Moderate | 10-25% of affected area/system expose to climate hazards | 10-25% |
| 0 | Low or None | 0-10% of affected area/system expose to climate hazards | 0-10% |

## Sensitivity

The degree to which a system or species is adversely or beneficially affected by climate variability or climate change.

| Score | Rating | Description |
| --- | --- | --- |
| 3 | High sensitivity | Potential loss of life or high impact caused by climate change. Difficult or impossible for systems to recover |
| 2 | Significant sensitivity | If climate changes event happens, high impact, but not catastrophic |
| 1 | Moderate sensitivity | If climate changes event happens, there is an impact, but not very disruptive |
| 0 | None or low sensitivity | Limited or no consequence from climate event |

## Adaptive Capacity

The ability of current systems, institutions, structural units, humans and other organisms to adjust to potential damage, to take advantage of opportunities, or to respond to consequences

| Score | Rating | Description |
| --- | --- | --- |
| 0 | Low or No Adaptive Capacity | Limited or no local or national policies or programmes in place to currently address specific risk/opportunity |
| 1 | Moderate Adaptive Capacity | Either some local or national policies and programmes in place, that may indirectly address risk/opportunity or are limited in scope |
| 2 | Significant Adaptive Capacity | Either local or national policies and programmes in place specifically addressing risk, but there are still gaps |
| 3 | High Adaptive Capacity | Well established systems (policies, programmes) that are currently addressing this risk |

## Vulnerability

The final vulnerability score is calculated by adding the exposure and sensitivity scores, then subtracting the adaptive capacity score. Vulnerability is then categorised from Very High to Very Low depending on the final score.

| Score | Rating |
| --- | --- |
| Very High | Total Score between 5 & 6 |
| High | Total Score between 3 & 4 |
| Medium | Total Score between 1 & 2 |
| Low | Total Score between -1 & 0 |
| Very Low | Total Score between -3 & -2 |

The detailed scoring matrix is provided in Annex: Scoring Matrix.

Local Authority Climate Report | West Yorkshire

Chapter 6: Infrastructure - UK Climate Risk

West Yorkshire Combined Authority Local Area Energy Plan Update 2026

Regional Demand and Generation Tracker — Open Data | Northern Powergrid

Calderdale Flood Risk & Drainage SPD, 2024

Leeds Local Flood Risk Management Strategy, n.d.

Wakefield Local Flood Risk Management Strategy, 2014, Kirklees local flood risk management full strategy, n.d.

West Yorkshire Prepared, Community-Risk-Register 2025

Calderdale Local Area Energy Plan (LAEP) Report, 2024

Drought and climate change impacts on cooling water shortages and electricity prices in Great Britain | Nature Communications, 2020

Environment Agency, Drought: how it is managed in England, 2026

ARP4-EUK-RUK-SEUK-report, 2024

Climate resilience report – fourth round climate adaptation reporting, 2025

Northern Powergrid 4th Round Report

Key stakeholder interview, 18 August 2026, facilitated for the West Yorkshire Climate Risk Assessment