# I4 Risks to Fuel Supply Systems

## Summary vulnerability assessment

This report forms part of the West Yorkshire Combined Authority Climate Risk and Vulnerability Assessment and examines risks to fuel supply systems from flooding, storms, heat, drought and wildfire. Exposure is score as moderate. Fuel supply serves the whole region, but direct exposure is likely to be concentrated at flood-prone assets, watercourse crossings and affected access routes. Sensitivity is also scored as moderate. Disruption could affect heating, transport, emergency services and other essential services, although much of the gas network has features that reduce its direct vulnerability. Northern Gas Networks’ inspections, severe-weather procedures and backup power, alongside regional fuel-disruption planning, provide significant adaptive capacity. However, limited information on fuel asset locations and access routes makes local risks difficult to assess, while the resilience of emerging hydrogen infrastructure remains uncertain.

The resulting overall vulnerability rating is low. The figure below summarises the assessment scores for exposure, sensitivity, adaptive capacity and overall vulnerability.

1

Moderate

1

Moderate

2

Significant

0

Low

Exposure

Sensitivity

Adaptive Capacity

Overall Vulnerability

## Risk summary

Climate change can disrupt the production, storage, transmission and distribution of liquid and gaseous fuels. Heavy rainfall and flooding can inundate depots, damage bridges carrying pipes, expose pipelines through river erosion and obstruct tanker or emergency-response routes. Heat, drought and wildfire can affect above-ground equipment, cooling processes and ground conditions. Storms can interrupt the electricity and telecommunications on which some fuel infrastructure and operations depend. The UK-wide assessment rates the risk as high, but notes that evidence is mainly qualitative and that publicly available data on individual assets and their protection is limited.

Regional the risk is changing as fossil-fuel use declines and new infrastructure develops. Planning permission was granted in April 2024 for a hydrogen-production and refuelling facility at the former Birkshall Holder Station in Bradford, incorporating electrolysers, storage, compressors, transformers, utility connections and vehicle access. Prior approval for the associated relocation of high-pressure above-ground gas infrastructure was granted in January 2026.4 The current West Yorkshire Climate and Environment Plan  identifies hydrogen and Local Area Energy Plans as part of the region’s energy transition. These create an opportunity to build climate resilience into the site and its utility and transport connections before operation begins.

## Exposure: How exposed is the West Yorkshire region to this risk?

Moderate

Exposure

Fuel supply is a region-wide service, but direct exposure to climate hazards is likely to be concentrated around river and surface-water flood zones, watercourse crossings, above-ground pressure-control equipment, transport corridors and access routes.

Local flood evidence indicates exposure across West Yorkshire, although it does not identify which fuel assets are affected. Flood exposure is likely to be higher in river valleys, low-lying urban areas and locations affected by surface-water runoff. Calderdale has steep, rapidly responding catchments and a long history of river and surface-water flooding. Leeds has exposed river corridors, urban surface-water hotspots and ageing drainage networks. Wakefield’s strategy identifies exposure of utilities, infrastructure and primary highway routes during major floods.  Comparable evidence for Bradford and Kirklees confirms that rapid-response catchments, surface water and river flooding affect infrastructure and transport access in those districts.

The strongest local operational evidence relates to the gas network. Sector stakeholders note that West Yorkshire’s network is broadly stable and did not identify any specific local asset hotspots. However, they did identify more difficult emergency access in the western Pennine areas because of flash flooding, narrow valleys and steep roads. They also identified dependencies on electricity, telecommunications and accessible roads.

No data was identified that would enable the mapping of West Yorkshire’s fuel depots, filling stations, pipelines, hydrogen assets or pressure-control sites against climate hazards.

## Sensitivity: How significant could this risk be for the West Yorkshire region?

Moderate

Sensitivity

A prolonged or widespread fuel disruption could affect domestic heating, emergency services, health and care provision, public transport, freight, food distribution, businesses and the operation of other utilities. Consequences could be most serious for people who depend on reliable heating, transport or powered medical and care services2.

Yorkshire Ambulance Service identifies fuel as part of the supply chain needed for operational continuity and includes flooded refuelling infrastructure and fuel-related supply-chain disruption among the risks to its fleet. Its assessment covers the wider Yorkshire service area rather than West Yorkshire alone, but it illustrates how disruption to fuel infrastructure could compound extreme-weather pressures on emergency response.

Northern Gas Networks reports that much of its system is underground, sealed and pressurised, which reduces direct vulnerability. Across Northern Gas Networks’ wider operating area, flooding in December 2015 and January 2016 caused six water-ingress events, affecting supply to 469 customer properties. The operator reports an average interruption of 77 hours and damage to three road bridges in Yorkshire carrying gas pipes. River erosion can expose or undermine high-pressure pipelines, while electricity and telecommunications failures can affect remotely operated equipment and the deployment of field staff. Northern Gas Networks’ Climate Change Adaptation Report also shows that apparently resilient gas infrastructure can experience cascading disruption through transport, power and communications14.

Northern Gas Networks rates its infrastructure and operations as having an overall low-to-medium climate-risk profile and identifies no high risks in the periods and warming scenarios assessed.14 The sensitivity assessment for this section reflects the possible consequences of a widespread failure across the broader fuel system, rather than the operator’s assessment of the likelihood or direct vulnerability of the existing gas network.

West Yorkshire’s constrained routes increase the potential for operational disruption. Calderdale’s transport strategy records community concerns about transport resilience to flooding and winter weather, while stakeholders confirmed that severe weather can make timely emergency attendance more difficult in western upland and valley communities.12  No local information was identified on depot locations, tanker routes, storage levels or alternative delivery arrangements

Sensitivity may change as the energy system decarbonises. Declining oil and natural-gas use could reduce exposure to some legacy assets2, while hydrogen and other low-carbon fuels may create new infrastructure and interdependencies. The exact regional consequences remain uncertain because future networks, asset locations and customer demand are not yet known.

## Adaptive Capacity: Existing programmes, plans, policies, budgets and community action

Significant

Adaptive Capacity

Relevant national, regional and operator arrangements are in place, but gaps remain in local asset-level evidence, cross-sector assessment and arrangements for emerging fuels.

Northern Gas Networks has risk-based inspections, asset-management plans, a year-round severe-weather procedure, additional and cross-skilled staff, contractor support, winter-equipped vehicles and backup power at strategic sites.14 It also monitors watercourse crossings and manages vegetation around exposed compounds.12 Following Storm Arwen, it increased backup-generation provision at key facilities.  National Gas is undertaking site-specific climate assessments, flood-risk reviews and river-scour modelling for transmission infrastructure.14  Ofgem requires network companies to produce climate-resilience strategies and report progress, while acknowledging gaps in whole-system resilience, consistent stress testing and links between long-term risk and investment decisions.

Emergency arrangements provide further capacity. The Government’s National Emergency Plan for Fuel sets out government options for maintaining essential services during major fuel disruption.  Locally, West Yorkshire Prepared has a regional Fuel Disruption Plan and mutual-aid arrangements, while its Community Risk Register describes multi-agency severe-weather planning, testing and public business-continuity advice.

National arrangements are intended to support the response to major disruption, but organisations remain responsible for maintaining their own business-continuity arrangements. Government guidance recommends that public, private and voluntary organisations plan for fuel disruption, maintain their arrangements and exercise them regularly.,

The Combined Authority’s climate and environment plan supports Local Area Energy Plans, flood-management programmes, hydrogen research and a strategic energy-project pipeline.  Local flood strategies and planning policies in Bradford, Calderdale, Kirklees, Leeds and Wakefield also reduce risks to new development and transport infrastructure.10,11,7,8,9  However, they do not generally address fuel supply assets directly.

A key gap is the absence of a shared map of critical fuel assets and access routes; limited public information on liquid-fuel infrastructure; uncertain resilience requirements for new hydrogen assets; and incomplete analysis of simultaneous failures in fuel, electricity, telecommunications and transport.

# Annex: Scoring Matrix

The scoring methodology uses the following formula to calculate overall vulnerability for each risk/opportunity area.

Exposure

Sensitivity

Adaptive Capacity

Overall Vulnerability

Exposure, sensitivity and adaptive capacity are scored on a scale of 0-3 (see below).

## Exposure

The presence of people, livelihoods, species or ecosystems, environmental functions, services, and resources, infrastructure, or economic, social, or cultural assets in places and settings that could be adversely affected.

| Score | Rating | Description | Area or System exposed |
| --- | --- | --- | --- |
| 3 | High | 50-100% of affected area/system expose to climate hazards | 50-100% |
| 2 | Significant | 25-50% of affected area/system expose to climate hazards | 25-50% |
| 1 | Moderate | 10-25% of affected area/system expose to climate hazards | 10-25% |
| 0 | Low or None | 0-10% of affected area/system expose to climate hazards | 0-10% |

## Sensitivity

The degree to which a system or species is adversely or beneficially affected by climate variability or climate change.

| Score | Rating | Description |
| --- | --- | --- |
| 3 | High sensitivity | Potential loss of life or high impact caused by climate change. Difficult or impossible for systems to recover |
| 2 | Significant sensitivity | If climate changes event happens, high impact, but not catastrophic |
| 1 | Moderate sensitivity | If climate changes event happens, there is an impact, but not very disruptive |
| 0 | None or low sensitivity | Limited or no consequence from climate event |

## Adaptive Capacity

The ability of current systems, institutions, structural units, humans and other organisms to adjust to potential damage, to take advantage of opportunities, or to respond to consequences

| Score | Rating | Description |
| --- | --- | --- |
| 0 | Low or No Adaptive Capacity | Limited or no local or national policies or programmes in place to currently address specific risk/opportunity |
| 1 | Moderate Adaptive Capacity | Either some local or national policies and programmes in place, that may indirectly address risk/opportunity or are limited in scope |
| 2 | Significant Adaptive Capacity | Either local or national policies and programmes in place specifically addressing risk, but there are still gaps |
| 3 | High Adaptive Capacity | Well established systems (policies, programmes) that are currently addressing this risk |

## Vulnerability

The final vulnerability score is calculated by adding the exposure and sensitivity scores, then subtracting the adaptive capacity score. Vulnerability is then categorised from Very High to Very Low depending on the final score.

| Score | Rating |
| --- | --- |
| Very High | Total Score between 5 & 6 |
| High | Total Score between 3 & 4 |
| Medium | Total Score between 1 & 2 |
| Low | Total Score between -1 & 0 |
| Very Low | Total Score between -3 & -2 |

The detailed scoring matrix is provided in Annex: Scoring Matrix.

Chapter 6: Infrastructure - UK Climate Risk

Climate Change Committee, A Well Adapted UK 2026

Bradford Planning Application Documents

West Yorkshire Climate and Environment Plan 2025-2038

Local Authority Climate Report | West Yorkshire

Calderdale Flood Risk & Drainage SPD, 2024

Leeds Local Flood Risk Management Strategy, n.d.

Strategic flood risk assessment 2016 - Wakefield Council

Bradford Appendix A Policy and Flood Risk

Kirklees local flood risk management full strategy 2024

Key stakeholder interview, 26 August 2026, facilitated for the West Yorkshire Climate Risk Assessment

NHS Yorkshire Ambulance Service, Climate Adaptation Plan_YAS, 2024-2029

NGN-CCAR-Round-4-Report 2024

Calderdale Transport Strategy 2016

Hydrogen transport and storage networks pathway - GOV.UK 2023

Ofgem Climate resilience report – fourth round climate adaptation reporting 2025

National Emergency Plan for Fuel: summary of response tools - GOV.UK

Fuel supply – response from West Yorkshire frontline services – West Yorkshire Prepared 2021

West Yorkshire Prepared Community-Risk-Register 2025

Business continuity management for fuel shortages - GOV.UK

It should be noted that this guidance is generic and was published in 2011 and it may not demonstrate the current preparedness of fuel-dependent organisations in West Yorkshire

West Yorkshire Climate and Environment Plan 2025-38